## 检定
移液器检定原始记录（单头）
证书编号： |  | <%=_data_.certCode%> |  | 依据技术文件： |  |  |  | JJG646-2006移液器
送检单位 |  | <%=_data_.clientName%>
检定地点 |  | <%=_data_.place%> | [6 empty] | 环境条件 |  | 温度 |  | ℃ | 相对湿度 |  |  | % | 其他 |  | /
计量器具名称 |  | 移液器 | [6 empty] | 型号规格 |  | <%=_data_.typeRule%> |  |  |  |  | 出厂编号 | <%=_data_.fantoryCode%>
制造厂商 |  | <%=_data_.makeUnit%>
不确定度/准确度等级/最大允许误差 |  |  |  |  | /
计量标准名称 |  |  | 测量范围 |  |  | 不确定度/准确度等级/最大允许误差 | [8 empty] | 计量标准证书编号 |  |  |  | 有效期至
标准器名称 |  |  | 型号规格 | 出厂编号 |  | 测量范围 |  |  |  | 不确定度/准确度等级/最大允许误差 |  |  |  |  | 证书编号 |  |  |  | 有效期至
${equi.name} |  |  | ${equi.typeSpec} | ${equi.unitCode} |  | ${equi.measurementRange} |  |  |  | ${equi.accuracy} |  |  |  |  | ${equi.certificateNumber} |  |  |  | ${equi.expiryDateView}
检定数据/结果
外观检查 | [9 empty] | 密合性检验
蒸馏水质量检定记录：
序号 | 检定点/μL |  | 温度/℃ | 质量值/g |  |  | K(t)值 |  | V20时实际容积/μL |  |  | 平均值V/μL |  |  |  | 相对误差E/% |  | 重复性S/%
1 | <%=_data_.tableData[0].point%> |  | <%=_data_.tableData[0].temp%> | <%=_data_.tableData[0].mass%> |  |  | <%=_data_.tableData[0].k%> |  | <%=_data_.tableData[0].v20%> |  |  | <%=_data_.tableData[0].ave%> |  |  |  | <%=_data_.tableData[0].relativeError%> |  | <%=_data_.tableData[0].repeatability%>
2 | <%=_data_.tableData[1].point%> |  | <%=_data_.tableData[1].temp%> | <%=_data_.tableData[1].mass%> |  |  | <%=_data_.tableData[1].k%> |  | <%=_data_.tableData[1].v20%>
3 | <%=_data_.tableData[2].point%> |  | <%=_data_.tableData[2].temp%> | <%=_data_.tableData[2].mass%> |  |  | <%=_data_.tableData[2].k%> |  | <%=_data_.tableData[2].v20%>
4 | <%=_data_.tableData[3].point%> |  | <%=_data_.tableData[3].temp%> | <%=_data_.tableData[3].mass%> |  |  | <%=_data_.tableData[3].k%> |  | <%=_data_.tableData[3].v20%>
5 | <%=_data_.tableData[4].point%> |  | <%=_data_.tableData[4].temp%> | <%=_data_.tableData[4].mass%> |  |  | <%=_data_.tableData[4].k%> |  | <%=_data_.tableData[4].v20%>
6 | <%=_data_.tableData[5].point%> |  | <%=_data_.tableData[5].temp%> | <%=_data_.tableData[5].mass%> |  |  | <%=_data_.tableData[5].k%> |  | <%=_data_.tableData[5].v20%>
7 | <%=_data_.tableData[6].point%> |  | <%=_data_.tableData[6].temp%> | <%=_data_.tableData[6].mass%> |  |  | <%=_data_.tableData[6].k%> |  | <%=_data_.tableData[6].v20%> |  |  | <%=_data_.tableData[6].ave%> |  |  |  | <%=_data_.tableData[6].relativeError%> |  | <%=_data_.tableData[6].repeatability%>
8 | <%=_data_.tableData[7].point%> |  | <%=_data_.tableData[7].temp%> | <%=_data_.tableData[7].mass%> |  |  | <%=_data_.tableData[7].k%> |  | <%=_data_.tableData[7].v20%>
9 | <%=_data_.tableData[8].point%> |  | <%=_data_.tableData[8].temp%> | <%=_data_.tableData[8].mass%> |  |  | <%=_data_.tableData[8].k%> |  | <%=_data_.tableData[8].v20%>
10 | <%=_data_.tableData[9].point%> |  | <%=_data_.tableData[9].temp%> | <%=_data_.tableData[9].mass%> |  |  | <%=_data_.tableData[9].k%> |  | <%=_data_.tableData[9].v20%>
11 | <%=_data_.tableData[10].point%> |  | <%=_data_.tableData[10].temp%> | <%=_data_.tableData[10].mass%> |  |  | <%=_data_.tableData[10].k%> |  | <%=_data_.tableData[10].v20%>
12 | <%=_data_.tableData[11].point%> |  | <%=_data_.tableData[11].temp%> | <%=_data_.tableData[11].mass%> |  |  | <%=_data_.tableData[11].k%> |  | <%=_data_.tableData[11].v20%>
13 | <%=_data_.tableData[12].point%> |  | <%=_data_.tableData[12].temp%> | <%=_data_.tableData[12].mass%> |  |  | <%=_data_.tableData[12].k%> |  | <%=_data_.tableData[12].v20%> |  |  | <%=_data_.tableData[12].ave%> |  |  |  | <%=_data_.tableData[12].relativeError%> |  | <%=_data_.tableData[12].repeatability%>
14 | <%=_data_.tableData[13].point%> |  | <%=_data_.tableData[13].temp%> | <%=_data_.tableData[13].mass%> |  |  | <%=_data_.tableData[13].k%> |  | <%=_data_.tableData[13].v20%>
15 | <%=_data_.tableData[14].point%> |  | <%=_data_.tableData[14].temp%> | <%=_data_.tableData[14].mass%> |  |  | <%=_data_.tableData[14].k%> |  | <%=_data_.tableData[14].v20%>
16 | <%=_data_.tableData[15].point%> |  | <%=_data_.tableData[15].temp%> | <%=_data_.tableData[15].mass%> |  |  | <%=_data_.tableData[15].k%> |  | <%=_data_.tableData[15].v20%>
17 | <%=_data_.tableData[16].point%> |  | <%=_data_.tableData[16].temp%> | <%=_data_.tableData[16].mass%> |  |  | <%=_data_.tableData[16].k%> |  | <%=_data_.tableData[16].v20%>
18 | <%=_data_.tableData[17].point%> |  | <%=_data_.tableData[17].temp%> | <%=_data_.tableData[17].mass%> |  |  | <%=_data_.tableData[17].k%> |  | <%=_data_.tableData[17].v20%>
检定结论
检定员： |  |  |  | 核验员： |  |  |  |  | 检定日期： |  |  |  |  | 有效期至：
Note on A1: jx:area(lastCell="AP26")
Note on E2: ${taskAssign.sample.certCode}
Note on Q2: ${taskAssign.standardLibrary}
Note on E3: ${taskAssign.taskOrder.certUnit}
Note on E4: ${taskAssign.testingAddress}
Note on AA4: ${taskAssign.envirTemperature}
Note on AH4: ${taskAssign.envirHumidity}
Note on AM4: ${taskAssign.otherInfo}
Note on E5: ${taskAssign.sample.sampleName}
Note on Y5: ${taskAssign.sample.typeRule}
Note on AJ5: ${taskAssign.sample.fantoryCode}
Note on E6: ${taskAssign.sample.makeUnit}
Note on M7: ${taskAssign.sample.accuracy}
Note on A9: ${taskAssign.standardMetering.name}
Note on G9: ${taskAssign.standardMetering.measurementRange}
Note on O9: ${taskAssign.standardMetering.uncertainty}
Note on AE9: ${taskAssign.standardMetering.certificateNumber}
Note on AL9: ${taskAssign.standardMetering.endTime}
Note on A11: jx:each(items="equipment" var="equi" lastCell="AP11")
Note on E34: ${taskAssign.sample.conclusion}
Note on E35: ${taskAssign.createRecordsUser}
Note on O35: ${taskAssign.auditUser}
Note on X35: ${taskAssign.createRecordsData}
Note on AH35: ${taskAssign.suggestCalibrationDate}