## 检定
移液器检定原始记录（单头）
证书编号： |  |  | 依据技术文件：
送检单位
检定地点 | [5 empty] | 环境条件 |  | 温度 |  | ℃ | 相对湿度 |  |  | % | 其他 |  | /
计量器具名称 | [5 empty] | 型号规格 | [6 empty] | 出厂编号
制造厂商
不确定度/准确度等级/最大允许误差
计量标准名称 |  | 测量范围 |  | 不确定度/准确度等级/最大允许误差 | [7 empty] | 计量标准证书编号 |  |  |  | 有效期至
标准器名称 |  | 型号规格 | 出厂编号 | 测量范围 |  |  | 不确定度/准确度等级/最大允许误差 |  |  |  |  | 证书编号 |  |  |  | 有效期至
${equi.name} |  | ${equi.typeSpec} | ${equi.unitCode} | ${equi.measurementRange} |  |  | ${equi.accuracy} |  |  |  |  | ${equi.certificateNumber} |  |  |  | ${equi.expiryDateView}
检定数据/结果
外观检查 | [6 empty] | 密合性检验
蒸馏水质量检定记录：
序号 | 检定点/μL | 温度/℃ | 质量值/g |  | K(t)值 | V20时实际容积/μL |  |  | 平均值V/μL |  |  |  | 相对误差E/% |  | 重复性S/%
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
检定结论
检定员： |  |  | 核验员： |  |  | 检定日期： |  |  |  |  | 有效期至：
Note on A1: jx:area(lastCell="AP26")
Note on E2: ${taskAssign.sample.certCode}
Note on Q2: ${taskAssign.standardLibrary}
Note on E3: ${taskAssign.taskOrder.certUnit}
Note on E4: ${taskAssign.testingAddress}
Note on AA4: ${taskAssign.envirTemperature}
Note on AH4: ${taskAssign.envirHumidity}
Note on AM4: ${taskAssign.otherInfo}
Note on E5: ${taskAssign.sample.sampleName}
Note on Y5: ${taskAssign.sample.typeRule}
Note on AJ5: ${taskAssign.sample.fantoryCode}
Note on E6: ${taskAssign.sample.makeUnit}
Note on M7: ${taskAssign.sample.accuracy}
Note on A9: ${taskAssign.standardMetering.name}
Note on G9: ${taskAssign.standardMetering.measurementRange}
Note on O9: ${taskAssign.standardMetering.uncertainty}
Note on AE9: ${taskAssign.standardMetering.certificateNumber}
Note on AL9: ${taskAssign.standardMetering.endTime}
Note on A11: jx:each(items="equipment" var="equi" lastCell="AP11")
Note on E34: ${taskAssign.sample.conclusion}
Note on E35: ${taskAssign.createRecordsUser}
Note on O35: ${taskAssign.auditUser}
Note on X35: ${taskAssign.createRecordsData}
Note on AH35: ${taskAssign.suggestCalibrationDate}